## Sheet1
file name | FAuthors | Year | Short Review | System Design1 | System Design2 | Result and Nobility
|  |  |  | Hardware | Software
1 | Sivabalakrishnan.M | 2019 | this study propose a system model that allowed people to control wheelchair with brainwave signals | neurosky TGAMI arduino Mega 2560 bluetooth communication DC motors in the model IR sensor for detecting obstacles in front | there isn't a special HMI EEG signal was read by a arduino board and 4 command(forward,backward,left,right) was detected | EEG proccessing for control a 2dof robot
2 | N.Monicka | 2019 | this study proposed a system which gives command from smart phone. An arduino was used as proccessor and IR sensor help system to identify obstacles | 2 dc motor for movement arduino Mega 2560 bluetooth communication 2 IR sensor | there isn't a special HMI bloutouth communication foe transfer movement from phone. using a arduino based code to detect obstacles by IR sensors | 1.low cost robot 2.detecting obstacles in the passage 3. using phone commands via blutooth transmition
3 | Rui Zhang | 2018 | this study proposed a system which designed for spinal cord injury patients and work by eye blinking. it's part of smart home project | camera(as which I underestand) and keypad to define commands | EOG-BASED HMI system consists of four parts: (a) an EOG-based HMI, (b) household electrical appliances, (c) an intelligent wheelchair, and (d) a nursing bed | 1. it has a multilvel GUI structure in software for different function 2.it use AI approache for detect eye bliniking 3. it was test by 7 real patients
4 | Gusti Pangestu | 2018 | this study develop a way for controlling smart wheelchair with movement of eyelid and recognize state of the eye opened or closed which can made a benchmark to control a wheelchair. | a 13 Megapixel camera as input of system | not mentioned | 1.they recognized state of eye(open/close) via 90% accuracy with a lvq neural network model 2.using Multiple Method consisting of Haar cascade to detect eye location, Vertical Image Projection (VIP) to extract the feature and Learning Vector Quantization (LVQ) Neural Networks to recognize state of the eye.
5 | Amiel Hartman | 2019 | multiple modules (different sensors) was implemented in a wheelchair. motion control and path planing are done and a monitoring system was held to track the actuators and sensors. | 1.Mechanical modifications to the EPW incorporate a retrofitted footplate with rotating sensor tower at the front of the platform for mounting oscillating LRF sensors for range sensing and color cameras for terrain detection 2.encoders for speed and position feedback 3.camera 4.touch screen 5,joystick 6.solenoid button all the modules implemented on a jazzy 600es electric-powered wheelchair | labview program for online monitoring | 1.using diffrenet sensors (LRF sensors-cameras-encoders) 2. optimize motion control system in different light conditions for the differential drive wheelchair platform 3. optimaization path planning and motion control programs 4. using labview for online monitioring and control
6 | Schwesinger et al. | 2017 | In this study presented the smart wheelchair system, together with a mapping service, in an urban environment. | 1. quadrature encoders (4096 CPR) and a Microstrain 3DM-GX1 IMU. 2. 2 Exteroceptive sensors IFM O3D200 3D cameras and 3. Hokuyo | 1. ROS 2. Point Cloud Library | 1. High efficiency 2. Independent movement of the patient at a distance of more than 12 km
7 | Ma et al. | 2017 | In this study presented a Arduino-based pressure cushion to determine the sitting position of patients on the wheelchair, as well as a sensor selection technique to obtain optimum deployment. | 1. cushion equipped with pressure sensors 2. Arduino 3. Bluetooth | weka software | 1. High accuracy 2.robust
8 | Li et al. | 2017 | In this study proposed a neuro-fuzzy fatigue tracking and classifcation system and applies this method to classify fatigue degree for manual wheelchair users. | 1. Bluetooth 2. Smartphone 2 3. ECG Sensor & EMG Sensor 4. Shimmer Accelerometer | Matlab | 1. Using fatigue-tracking and fatigue-classification method 2. Obtaining 80% accuracy
9 | Rabhi et al. | 2018 | In this study introduced a smart touch screen joystick using neural network based calibration algorithm for electric wheelchair driving. | 1. Raspberry PI 2 2. Tablet or the smartphone 3. Wi-Fi or Bluetooth | Virtual simulation | The results of patients' satisfaction with the navigation system were between 89 and 94 percent.
10 | Tang et al. | 2018 | In this study proposed an intelligent wheelchair system using the BCI system, which has the ability of target recognition and localization. | 1. Omnidirectional chassis 2. Robotic arm 3. Kinect camera 4. 2 Lidar 5. USB camera 6. Computer monitor 7. Laptop | ROS | The simulation results showed that their method had high performance in terms of Mobility , Capability, Dynamics and Ease-of-use.
11 | Rojas et al. | 2018 | In this study an obstacle controller using ultrasonic sensors and fuzzy logic navigation was introduced in the smart wheelchair hardware system. | 1. Quick P-222 SE 2. Laptop 3. c-RIO 9103 4. Sensor | VideoPoint Physics Fundamentals software | 1. The results showed that the system is able to acquire data from sensors and make decisions 46.16 times per second. 2. They implemented a wheelchair navigation assistant. 3. And finally, the implemented system is useful for patients who find it difficult to work with a wheelchair because this implementation system prevents patients from hitting objects while moving.
12 | Abdulghani et al. | 2020 | In this study implemented a neuro-fuzzy voice-controlled wheelchair for disabled patients that the patient can control the electric wheelchair using voice instructions. | 1. 2 DC Motor 2. Microcontroller 3. GSM/GPS module 4. ARDUINO UNO 5. Bluetooth module 6. Voice recognition unit | Matlab | 1. Extract of Audio features 2. Track positions 3. A set of sensors to recognition static, dynamic obstacles and slippery road
13 | Lecrosnier et al. | 2020 | In this study proposed an advanced driver assistance system using deep learning based on detection, depth estimation and object detection. | 1. An on-board computer with 8 GB RAM and 250 GB SSD 2. A Roboteq engine driver 3. An Xbox joystick 4. AWi-Fi router 5. An embedded Human-Machine Interface (HMI) 6. Intel RealSense D435 camera & Realsense T265 camera | ROS | 1. In order to achieve experimental results, the authors used datasets that achieved precision and recall with a high percentage in object detection. 2. The distance was measured directly using the RealSense D435 camera.
14 | Ryu et al. | 2021 | In this study proposed an automatic wheelchair with two functions of artificial intelligence for disabled patients, the functions used include a reinforcement learning algorithm to recognize the patient's condition and an autonomous driving function for driving comfort. | 1. 2 Lidar scanner 2. RGB-D camera & Rear camera 3. Bluetooth 4. Gyro sensor 5. Joystic & Six button & LCD 6. 2 Battry | ROS | 1. Autonomous driving 2. Having a turning radius 3. Crossing obstacles
15 | Cao et al. | 2021 | In this study, a multipurpose wheelchair called ReChair with voice control system was introduced, which includes the ability to walk, move and change the position for disabled people. | 1. Back module 2. Linear drive module 3. Frame module 4. Armrest module 5. Cushion module 6. Lower limb rehabilitation training module | Kinematic Simulation software | 1. Introducing multifunctional wheelchair 2. Changing the posture of the wheelchair using the voice, button, and mobile terminal control
16 | Ferracuti et al. | 2021 | In this study examined the EEG signals for a closed-loop system using secure independent navigation for electrical and smart wheelchairs , and finally proposed the correct route to users who are present in the loop. | 1. Computer 2. Webcam 3. Hokuyo 4. Hub USB 5. IMU 6. Arduino 7. Encoder 8. Motors 9. g.MOBIlab+ usb | ROS and Gazebo Simulation Environments | 1. EEG potential generation 2. During the guided route in an indoor environment with a wheelchair towards the destination, if obstacles are encountered, it produces EEG potential.
17 | Bakouri et al. | 2022 | In this study presented voice recognition to control a wheelchair, which was implemented using a mobile application of this model. | 1. Motor pain 2. Acid battery 3. Raspberry pi4 4. Relay Module | 1. Android Smartphone 2. CPU Core 3. OS Android 8.1 4. Display 1080 × 2340 pixels, 19.5:9 ratio | 1. An approach with neural network based on network in network with voice recognition model was implemented using mobile application. 2. Using five voice commands 3. Using a hotspot between software and hardware components
18 | Lele Xi | 2020 | The objective of this study was to develop a shared control system that can be adapted to diferent environments by completely utilizing the operating ability of the user while maintaining the motivation of the user to drive. | 1. Joystick 2.sound signals 3. electromyograpy (EMG) 4. electro encephal gram (EEG ) 5. motion capture system (Cortex, 6. Motion Analysis Corporation, Santa Rosa, CA, USA) 7. virtual reality (VR) 8. user datagram protocol(UDP) | MATLAB software dynamic window approach (DWA) vector ﬁeld histogram (VFH) reinforcement learning (RL): (RL) was considered a suitable long term optimization method for this shared control Driving Behavior Questionnaire (DBQ) | The purpose of this study was to make better use of the users' remaining physical functions.
19 | Soufien Chikh | 2020 | The purpose of this work is to predict the direction and speed of movement in MWCs from EMG data prior to movement initiation. A total of 96 movements was studied. Activation of muscles was recorded bilaterally at the anterior deltoid.posterior deltoid, biceps brachii, pectoralis major, rectus abdominis, obliquus externus and erector spinae. | electromyography (EMG) A camcorder was used for video recording at 25 Hz | MATLAB software | Using EMG parameters, it is possible to detect the direction/velocity combination with 95% classification accuracy in 6 possible classes
20 | Mokhles M. Abdulghani | 2020 | This research paper presents the design and implementation of a voice controlled electric wheelchair. | microphone Motor Driver Arduin voice recognition unit (VRU) microcontroller Gsm ، GPS ultrasonic sensors | MATLAB software | The implemented software enables audio signals to be read and processed on command from a built-in microphone. It sends the command signal to the microcontroller through a Bluetooth connection module.
21 | Wafa Batayneh | 2020 | MATLAB software is used to simulate the system and calculate the Mean Error (ME) and Mean Square Error (MSE) for various scenarios in both approaches, the results showed that the PD-Fuzzy-P controller has a faster convergence in trajectory tracking than the GA-PID controller. | Joystick Arduino ATMEGA 128 DC motor controller PD-Fuzzy-P controller GA-PID Actuator Drive Bluetooth smart phone | MATLAB software | The PD-Fuzzy-P controller has faster convergence than the GA-PID controller in the path
22 | Ahmed Azad | 2020 | In this paper, a comprehensive solution to the problem of EW recharging is provided in the form of a smart, autonomous charging system, based on Wireless Power Transfer (WPT) technology | Power-Factor Correction (PFC) 250-W WPT HF inverter compensation network 48 identical circular coils RF communication link | MATLAB software | As an assistive device for people with disabilities who are unable to use physical force to drive a manual wheelchair
23 | Yassine Rabhi | 2018 | A new control system of a hand gesture-controlled wheelchair (EWC) is proposed.The patient’s hand movements are recognized using a visual recognition algorithm and artiﬁcial intelligence | visual sensor (USB-camera) Gaussian flter visual joystick 3D simulator | Recurrent neural network algorithms (RNN) OpenCV(Open Source Computer Vision Library)
24 | Rahib H. Abiyev | 2016 | The design of brain-computer interface for the wheelchair for physically disabled people is presented. The design of the proposed system is based on receiving, processing, and classification of the electroencepha ographic (EEG) signals and then performing the control of the wheelchair. Based on the mental activity of the user and the control commands of the wheelchair, the design of classification system based on fuzzy neural networks (FNN) is considered. The design of FNN based algorithm is used for brainactuated control. | brain-computer interface (BCI)system electro encephal gram (EEG ) virtual reality (VR) Emotiv headset(Emotiv EPOC is an EEG headset) fast Fourier transform(FFT) | classification system based on fuzzy neural networks (FNN) | The obtained 100% classification results prove that the used techniques are a potential candidate for EEG signal classification in brain-based control system design.
25 | Afnan M. Alkhateeb | 2016 | This study: 1) assessed the validity/reliability of Coach’s Eye (CE) smart device application, 2) examined the effect of seat to back support angle adjustments on head, neck, and shoulder posture in the sitting position, and 3) compared changes in cervical rotation at each back support angle. Abled subjects sat in a wheelchair with back support angles positioned at 90°, 100°, and 110°. Coach’s Eye, as well as ImageJ software, was used to analyze three angles; sagittal head angle (SHA), cervical angle(CVA), and shoulder angle (SA). | laptop computer smart phone(iPhone 6 plus), tripod, and cellphone adaptor cervical range of motion (CROM) | Coach’s Eye (CE) ImageJ Statistical Package for the Social Sciences (SPSS) version 23.0. analysis of variance (ANOVA) | A motion and posture evaluation program using angle, (CE) is a valid and reliable program for measuring posture angles.
26 | Nutdanai Singkhleewon | 2020 | The objective of this research is to develop a smart adjustable standing-sitting wheelchair prototype that can be operated with a smartphone. Its distinctive feature is the ability of standing-sitting adjustment and automatic stop when approaching obstacles. This device can be controlled from installed joysticks and Android smartphone control program. | Joystick Arduino ATMEGA 128 DC motor Actuator Drive Bluetooth smart phone | Android smartphone | The arduino microcontroller is the main processor to control the operation of the drive system. A linear actuator is used to install the unit and sit. An ultrasonic sensor is used to automatically stop the smart wheelchair when detected.
27 | Divya Jennifer DSouza | 2019 | The objective of the present work is to develop a smart sensing wheelchair by implementing sensors within its structures. The technology adopted is Internet of Things wherein the heart rate and blood oxygen levels are detected by sensors, processed by embedded systems and sent to the cloud that initiates a trigger in case of any abnormality. | Arduino Nano Laptop Configuration Node MCU SpO2 Sensor PPG sensor 4.7k ohm resistance SSD 1306 OLED display-128*64 | Arduino Window PC/OS Arduino IDE MQTT Library Max30100 library | Providing access to remote health services using a health monitoring system increases their independence, because their health is recorded and monitored without any effort by the doctor. With online access to services, they can directly contact their doctors only when necessary. communicate
28 | Amira Elkodama | 2020 | The motion and steering action of the wheelchair are controlled using the Robot Operating System (ROS). The testing of the wheelchair has shown that it is capable of avoiding obstacles and can easily reach the destination with minimum commands from the user. | ultrasonic sensors microphone joystick proportional–integral– derivative controller (PID ) Arduino mega two12V DC/ 12 Ah batteries Motor Driver | Robot Operating System (ROS) SOLIDWORKS | It can operate in intelligent obstacle avoidance mode with joystick or voice commands, and sensor data is included in these two modes. However, it cannot work with joystick and voice commands at the same time, as there is no precedence between voice commands and joystick.
29 | Alberto L. Barriuso | 2018 | In this work, an architecture based on virtual organizations of agents is proposed that makes use of a ﬂexible and scalable communication protocol that | Camera Microsoft Surface tablet Motor contorller smart phone electro encephal gram (EEG) Microchip PIC16F88 Pololu Dual VNH5019 drivers Microchip RN-41 Sensor Gateway Agent microphone ultrasound Sensor battery Sensor accelerometer Sensor (smart phone) Collision Analyser | multi-agent system PANGEA algorithms RIPPER, C4.5, RandomForest, Bayesian networks, SVM, Bagging | This case study is validated with three external interfaces (voice, smartphone and EEG device). It is important to note that the interface development cost is less than $120
30 | Dhissanuvach Chaikhot | 2018 | The aim of this study was to determine the effect of sex on wheelchair biomechanics and mechanical efficiency in novice young able-bodied wheelchair propulsion.Thirty men and 30 women received 12 min of familiarisation training. Subsequently, they performed two 10-m propulsion tests to evaluate comfortable speed (CS). | a force- and torque-sensing SMART Wheel A non-folding ultra-light wheelchair (Quickie, USA) | Predictive Analytics Software (SPSS for Mac Version 19; SPSS Inc.,Chicago, USA) analysis of variance (ANOVA)
31 | Toly Chen | 2020 | To assess the sustainability of a smart technology application for e-health, this study proposes the judgment decomposition analytic hierarchy process (JD AHP) approach. In the proposed JD-AHP approach |  | udgment-decomposition (JD ) analytic hierarchy process (AHP) ordered weighted average (OWA) method | The results of this study's analysis provide useful information for manufacturers and distributors of smart devices to adjust the product mix they manufacture and sell.
32 | Jawad Ahmad | 2018 | In this paper, a pressure sensing system capable of recognizing sitting postures by means of measuring interface pressure through printed pressure sensors is presented. | piezoelectric pressure sensor screen-printing technique polydimethylsiloane (PDMS) Quantum tunneling composites (QTC) Polyethylene Terephthalate (PET) screen-printed sensor Methyl Ethyl Ketone (MEK) 8-bit Atmel ATmega- 2560 microcontroller Bluetooth module (HC-06) Lutron FG 6020SD dynamometer Agilent 34405A multimeter Keysight DSOX3024A oscilloscope pneumatic cylinder sensor surface MultiTest 2.5-dV from Mecmesin | MATLAB | One of the limitations of this pressure sensing system is that the large area sensor can only sense pressure in the downward direction and cannot measure shear.
33 | Mahmoud Dahmani | 2020 | This paper proposes a system to aid people with motor disabilities by restoring their ability to move e ectively and e ortlessly without having to rely on others utilizing an eye-controlled electric wheelchair. The system input is images of the user’s eye that are processed to estimate the gaze direction and the wheelchair was moved accordingly. | electrooculography(EOG) Camera Videooculography (VOG) infrared illumination cameras Remote Gaussian ﬁltering | Fusion 360 software convolutional neural networks (CNNs) | CNN exhibited the best performance (i.e., 99.3% classiﬁcation accuracy), and thus it was the model of choice for the gaze estimator, which commands the wheelchair motion. The system was evaluated carefully on eight subjects achieving 99% accuracy in changing illumination conditions outdoor and indoor.
34 | Shenghong He | 2016 | This paper presents a new P300-based threshold-free brain switch. Speciﬁcally, one target button and three pseudo buttons, which are intensiﬁed in a random order to produce P300 potential | electroencephalography (EEG) brain-computer interface (BCI) support vector machine (SVM) 14-inch LCD screen brain switch 'NuAmps device(Compumedics, Neuroscan, Inc., Abbotsford, Australia). | graphical user interface (GUI) | Our experimental results from eight healthy subjects and five SCI patients show that both healthy subjects and SCI patients can use our brain switch to control control in a short time with relatively low.
35 | Eun Yi Kim | 2016 | An intelligent wheelchair (IW) system is developed in order to support safe mobility for disabled or elderly people with various impairments. The proposed IW offers two main functions: obstacle detection and avoidance, and situation recognition.First through a combination of a vision sensor and eight ultrasonic ones | ultrasonic sensors vision sensor infrared (IR) sensors drive safe system (DSS) data acquisition(DAQ) board charge-coupled device (CCD) camera Gaussian ﬁlter histogram of oriented gradient (HOG) switching board joystick DAQ board | occupancy grid maps (OGMs) | (1) the proposed system can recognize different types of outdoor places with 98.3% accuracy; and (2) it can produce paths that avoid obstacles with 92.0% accuracy.
36 | Hachem A | 2016 | The goal of this study is to investigate the inﬂuence of mental fatigue on the event related potential P300 features (maximum pick, minimum amplitude, latency and period) during virtual wheelchair navigation. | Invacare Storm 3G Ranger joystick encoders panoramic screen eye tracker Emotiv Epocelectro encephal gram (EEG ) | virtual reality software | The results showed that the selective features and P300 period had the best correlation with the appearance for the visual cortex.
37 | Louis Lecrosnier | 2021 | This paper deals with the development of an Advanced Driver Assistance System (ADAS) for a smart electric wheelchair in order to improve the autonomy of disabled people. | Intel RealSense camera Single-Shot Detector (SSD) ultrasound sensor lasers radar infrared sensor camerameasurement sensors (camera, LIDAR, RADAR, etc.) joystick Motor driver Human-Machine Interface (HMI) with a touch screen | Robotic Operating System(ROS) ImageNet | The aim of this work is to provide a perception layer to the wheelchair, enabling this way the detection of these keypoints in its immediate surrounding, and constructing of a short lifespan semantic map.
38 | Fahd N. Al-Wesabi | 2020 | In this paper, we propose a smart mind-based wireless controlled wheelchair (SMWCW) approach that completely controls the motion of a wheelchair wirelessly through brain signals and eye blinks to help partially quadriplegic individuals to perform their daily activities easily. | electroencephalography (EEG) Arduino microcontroller brain computer interface (BCI ) NeuroSky brainwave sensor A highly accurate device developed by EMOTIV was used to measure brain signals GPS ، GSM AVR micro-controller | smart mind-based wireless controlled wheelchair (SMWCW) C programming Protues simulation software | The NeuroSky’s EEG device translates the user’s wishes expressed by eyes blinks into device commands to realize the user’s intent. The wheelchair can be controlled merely by brain signals and eye blinks with almost 95% accuracy.
39 | Rui Zhang | 2015 | This paper presents a brain-controlled intelligent wheelchair with the capability of automatic navigation. Using an autonomous navigation system, candidate destinations and waypoints are automatically generated based on the existing environment. | brain computer interface (BCI ) electro encephal gram (EEG) motor imagery (MI) steady-state visual-evoked potentials (SSVEP) sensor LRF (SICK LMS 111) two encoders, which are attached to the central driving an array of three ultrasonic sensors | proportional integral-derivative (PID) | Using our system, the mental burden of the user can be substantially alleviated. Furthermore, our system can adapt to changes in the environment.
40 | Rajesh Kannan Megalingam | 2019 | A prototype system, ’Mudra’ (Sanskrit word for gesture), incorporates a gesture capture module, developed for recognition and identiﬁcation13 of hand gestures. | 1. Motor Driver 2. Intel I5 processor board 3. IR LED array 4. infra-red (IR) camera 5. diffuser mask microprocessor unit Microcontroller unit is the HIM 6. ultrasonic sensors | Statistics Toolbox MotorControlModule(MCM MATLAB software | Response times for mudra-controlled wheelchairs were significantly faster than for joystick-based wheelchairs.
41 | Xiuzhi Li | 2015 | This paper presents an optical flow-based novel technique to perceive the instant motion velocity of a smart wheelchair robot | digital camera Intel Core i3 CPU Nivdia GT740 GPU | model-based random sample consensus (RANSAC) OFO algorithm RBPF-SLAM algorithm | two main innovations. Firstly, the proposed tilted overlooking camera set-up insteadof conventional downward looking camera and the corresponding ego-motion model is presented for compact indoor mobile robots. Secondly, by virtue of the graphic processing unit-accelerated TV-L algorithm, which is coupled with motion priors-based pixel prediction, we are permitted to improve the accuracy and efficiency of the optical flow estimation significantly
42 | Saravanan | 2022 | This paper presented a design and validation of a smart wheelchair that reduces manual propelling effort, is cost-effective, and adaptable for indoor and outdoor use. | Motor Battery Switch Accelerometer sensor Arduino Bluetooth | Android Application | The proposed system is efficient to reduce the effort taken by the individual to propel it manually.
43 | Muangmeesri | 2022 | The authors described the creation of modern smart wheelchair accessories. | Camera Joystick Battery Power Bank Network Card ESP8266 Board | Smart phone | Internet of Things (IoT) connects appliances, services, monitoring, and controlling devices in electric-powered smart wheelchairs.
44 | Bakouri | 2022 | They designed and implemented a low-cost software and hardware method to steer a robotic wheelchair . | Microphone Raspberry Pi DC motor | Android mobile app based on Flutter software | The smartphone app was also created using a voice recognition model linked with a convolutional neural network (CNN)-based network in network (NIN) structure technique.
45 | Sandoval-Bringas | 2022 | The paper described the design and fabrication of the second iteration of an electronic gadget adaptable to a motorised wheelchair that functions as an intelligent navigation system. | Three arduino UNO board based on the Atmega328P microcontroller A MX2125 accelerometer A 2.2 ”(5.588cm) long Flex Sensor A myoelectric muscle sensor A HC-05 Bluetooth Module | Mobile Application | The paper presented an electronic device for motorized wheelchairs, serving as a navigation system, developed with minimal investment, making it accessible to limited resource individuals.
46 | Jun Xu | 2023 | In this paper, has design a technologically intelligent wheelchair with eye-movement control for patients with ALS in a natural environment. | electro encephal gram (EEG) electrooculography(EOG) Camera Arduino virtual reality (VR) | Robot Operating System (ROS) Gazebo softwar | model is transplanted into an embedded AI controller. The test results show that the accuracy of eye-movement direction recognition is 98.49%
47 | Muhammad Sheikh Sadi | 2022 | This paper proposes a gesture-controlled smart wheelchair system with an IoT-enabled fall detection mechanism | two Dcmotors power rating of 250 W 12 V rechargeable Lead Acid battery (for power supply) Ultrasonic sensors accelerometer RGB camera | Convolutional Neural Network (CNN) Kernelized Correlation Filters (KCF) Region of Interest (ROI) | It maintains the safety of the users by performing fall detection with IoTbased emergency messaging systems. The development cost of the overall system is cheap and is lesser than USD 300. Hence, it is expected that the proposed smart wheelchair should be affordable, safe, and helpful to physically disordered people in their independent mobility.
48 | K. Martı´n-Chinea | 2022 | In this paper, the effectiveness of using an LSTM with a low-cost wireless EEG device in real time is tested, and the time window that maximizes its classiﬁcation accuracy is studied. | brain-computer interface (BCI)system electro encephal gram (EEG) | support vector machine (SVM) discriminant analysis (DA) decision tree learning (DTL) ﬁcial neural networks (ANN) Recurrent neural network algorithms (RNN) long short-term memory network (LSTM) (a type of recurrent neural network) | The goal is to be able to implement it in the BCI of a smart wheelchair with a simple coded command protocol, such as opening or closing the eyes, which could be executed by patients with reduced mobility. Results show a higher resolution of the LSTM with an accuracy range between 77.61 and 92.14% compared to traditional classiﬁers (59.71%), and an optimal time window of around 7 s for the task done by users in this work. In addition, tests in real-life contexts show that a trade-off between accuracy and response times is necessary to ensure detection.
49 | Yang | 2023 | The authors proposed A novel ankle rehabilitation robot enhances stroke therapy using a cable-actuated parallel mechanism and wheelchair. | Tension sensor Variable-stiffness device Cable Motor | Ankle rehabilitation robots (ARRs) | A robot to help stroke patients based on ankle rehabilitation is presented and it works well.